{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["Sheet2","Sheet1"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"Sheet2","index":0,"n_rows":15,"n_cols":2,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
[]
["组织机构","计数项:组织机构"]
["物理与电子科学学院",46]
["化学化工学院",68]
["生命科学学院",125]
["信息科学与工程学院",2]
["地理科学学院",18]
["医学院",33]
["工程与设计学院",19]
["教育科学学院",4]
["体育学院",13]
["外国语学院",1]
["(空白)"]
["总计",329]

{"sheet":"Sheet1","index":1,"n_rows":330,"n_cols":10,"rows_kept":330,"cut":false,"hidden":false,"merged":[]}
["序号","组织机构","设备编号","分类号","设备名称","型号","仪器负责人","单价","购置日期","平台连接情况"]
[1,"地理科学学院","0901019S","03100124","便携式光合作用仪","LI-6400XT","韩广",460200,"2009-06-22","无"]
[2,"地理科学学院","0901018S","03030810","激光粒度分析仪","S3500","韩广",236600,"2009-06-22","电脑登录"]
[3,"地理科学学院","2001071S","03030402","元素分析仪","Vario Macro Cube","李忠武",462000,"2020-06-30","电源控制"]
[4,"地理科学学院","2001070S","03030900","全自动间断化学分析仪","Smartchem 140","李忠武",316000,"2020-06-30","电源控制"]
[5,"地理科学学院","202273918S","03030135","总有机碳分析仪","Enviro TOC","聂小东",278600,"2022-12-01","电脑登录"]
[6,"地理科学学院","2002262S","03030706","液相色谱质谱联用仪","1290+6470","饶志国",1879800,"2020-10-21","电脑登录"]
[7,"地理科学学院","1404914S","03040404","原子吸收光谱仪","PinAAcle 900T","谭长银",495000,"2014-12-08","电脑登录"]
[8,"地理科学学院","1601238S","03030409","原子荧光形态一体机","LC-AFS6500","王欣",445010,"2016-04-11","电脑登录"]
[9,"地理科学学院","1503594S","03200824","高通量高压微波消解系统","MARS 6 CLASSIC (910980)","王欣",274000,"2015-10-09","电源控制"]
[10,"地理科学学院","1800639S","03060120","Zeta电位及粒度分析仪","90Plus PALS","王欣",270800,"2018-05-14","电脑登录"]
[11,"地理科学学院","1702456S","03030615","离子色谱仪","Aquion","王欣",260700,"2017-11-01","电脑登录"]
[12,"地理科学学院","1702466S","03030973","实时荧光定量PCR分析仪","CFX ConnectTM","王欣",230400,"2017-11-01","电脑登录"]
[13,"地理科学学院","1702457S","03060507","真空冷冻干燥机","FreeZone 2.5L","王欣",119900,"2017-11-01","电源控制"]
[14,"地理科学学院","1503593S","03031271","气氛炉","BF51732PBC-1","王欣",119200,"2015-10-09","电源控制"]
[15,"地理科学学院","1503595S","03210224","水同位素分析仪","908-0004-9002/912-0026-1000","肖雄",687800,"2015-10-09","电源控制"]
[16,"地理科学学院","1800640S","03031246","全自动真空冷凝抽提系统","LI-2100","肖雄",198900,"2018-05-14","电源控制"]
[17,"地理科学学院","1405163S","03030715","便携式地物波谱仪","FieldSpec 4","杨波",746000,"2014-12-15","无"]
[18,"地理科学学院","2005668S","03040124","专业偏光显微镜","Axiolab 5","易立文",160000,"2020-12-15","无"]
[19,"工程与设计学院","2001851S","04270100","田岛高精度电脑打板刺绣系统","STSS-906","孙舜尧",278500,"2020-09-18","无"]
[20,"工程与设计学院","1902605S","04270107","绣花机","TMBR SI8\\501C(360X500)S","孙舜尧",130000,"2019-10-22","无"]
[21,"工程与设计学院","1902606S","03041149","激光打标机","QW-RY50","孙舜尧",106000,"2019-10-22","无"]
[22,"工程与设计学院","202308424S","04270107","人工智能湘绣刺绣机","瑞柯玛/FPB","孙舜尧",295000,"2022-12-30","无"]
[23,"工程与设计学院","1701703S","03191213","人体三维测量扫描仪","VITUS SMART LC3","谭正棠",738000,"2017-06-15","电脑登录"]
[24,"工程与设计学院","202304914S","03250213","多导生理系统记录仪","2022EXG0170   ","谭正棠",189500,"2022-12-14","无"]
[25,"工程与设计学院","1902284S","04060900","中型 微波还原烧成炉","NEW FLAME RF -18P","王贞",142500,"2019-09-10","无"]
[26,"工程与设计学院","1202681S","04010729","立式数控铣床","XD714D","颜建强",311500,"2012-10-22","电源控制"]
[27,"工程与设计学院","1202682S","04010729","立式数控铣床","XD714D","颜建强",311500,"2012-10-22","电源控制"]
[28,"工程与设计学院","1202674S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[29,"工程与设计学院","1202675S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[30,"工程与设计学院","1202676S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[31,"工程与设计学院","1202677S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[32,"工程与设计学院","1202678S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[33,"工程与设计学院","1202679S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[34,"工程与设计学院","1202680S","04010123","卧式数控车床","CAK3665di","颜建强",113800,"2012-10-22","电源控制"]
[35,"工程与设计学院","1400655S","03200813","矢量网络分析仪","ZVL3","杨进宝",178000,"2014-04-14","无"]
[36,"工程与设计学院","1602072S","03141201","电液比例控制测试实验台","RCYCS-DIII","杨俊",120000,"2016-05-24","电脑登录"]
[37,"工程与设计学院","202273098S","03190546","阻抗分析仪","瑞士苏黎世仪器阻抗分析仪MFIA 5M","杨宇祥",143000,"2022-11-25","无"]
[38,"化学化工学院","1304838S","03030923","多功能酶标仪","SpectraMax i3","曾佑林",245000,"2013-11-11","电脑登录"]
[39,"化学化工学院","202316288S","03040443","高精度智能旋光仪","GTR-532-03","曾佑林",100000,"2023-11-07","无"]
[40,"化学化工学院","1600351S","03030706","液相色谱质谱联用仪","LCMS-8050","陈波",1645000,"2016-01-14","电脑登录"]
[41,"化学化工学院","2101478S","03030623","高效液相色谱仪","LC-40","陈波",296800,"2021-05-17","电脑登录"]
[42,"化学化工学院","0902189S","03030623","高效液相色谱仪","LC-20AT(自动)","陈波",288960,"2009-10-29","电脑登录"]
[43,"化学化工学院","0610821S","03030623","高效液相色谱仪","LC20A","陈波",249228,"2006-12-31","电脑登录"]
[44,"化学化工学院","202275922S","03040108","活细胞显微工作站","尼康 ECLIPSE TI2-E","韩跃",1050000,"2022-12-14","电脑登录"]
[45,"化学化工学院","202274550S","03040428","荧光分光光度计","日立 F-7000","韩跃",228000,"2022-12-12","电脑登录"]
[46,"化学化工学院","202267061S","03040425","紫外可见分光光度计","岛津/UV2700i","韩跃",110500,"2022-04-26","电脑登录"]
[47,"化学化工学院","202274551S","03030611","凝胶成像系统","伯乐 GelDoc Go","韩跃",109000,"2022-12-12","电脑登录"]
[48,"化学化工学院","1401312S","03040404","激光显微拉曼光谱仪","DXR","黄炜",496500,"2014-06-13","电脑登录"]
[49,"化学化工学院","202316287S","03040430","组装式教学拉曼光谱仪","GTR-532-03","黄炜",158000,"2023-11-07","电脑登录"]
[50,"化学化工学院","202267082S","03030623","高效液相色谱仪","Hitachi Primade","黄学良",169800,"2022-06-27","电脑登录"]
[51,"化学化工学院","2002036S","03030215","差示扫描量热仪","DSC25","兰支利",346900,"2020-10-12","电脑登录"]
[52,"化学化工学院","2000587S","03030614","凝胶渗透色谱仪","1500 series","兰支利",228500,"2020-06-02","电脑登录"]
[53,"化学化工学院","202321956S","03052207","流变仪","赛默飞世尔/HAAKE MARS60","兰支利",591800,"2023-11-07","电脑登录"]
[54,"化学化工学院","202316654S","03040428","荧光分光光度计","RF-6000","李承志",235000,"2023-11-07","电脑登录"]
[55,"化学化工学院","202316653S","03040428","荧光分光光度计","RF-6000","李承志",235000,"2023-11-07","电脑登录"]
[56,"化学化工学院","1806321S","03030502","X射线粉末衍射仪","UItimaIV","廉世勋",1496700,"2018-12-13","电脑登录"]
[57,"化学化工学院","1604625S","03030623","高效液相色谱仪","Agilent 1260","刘贤响",307890,"2016-10-18","电脑登录"]
[58,"化学化工学院","1102491S","03140202","旋转滴界面张力仪","TX500H","马铭",249700,"2011-11-09","电脑登录"]
[59,"化学化工学院","0610819S","03030706","气相色谱-质谱联用仪","GC/MS-QP-2010","毛丽秋",454926,"2006-12-31","电脑登录"]
[60,"化学化工学院","0802109S","03030623","高效液相色谱仪","Agilent 1200","毛丽秋",338750,"2008-10-13","电脑登录"]
[61,"化学化工学院","202201450S","03030409","F-4700荧光分光光度计","日立F-4700","邱忠贤",199600,"2022-02-10","电脑登录"]
[62,"化学化工学院","1903513S","03030247","热重红外联用分析仪","PerkinElmer TGA 4000-FTIR Fron","盛丽萍",856300,"2019-11-27","电脑登录"]
[63,"化学化工学院","1403558S","03052523","动态力学分析仪","DMA242E","盛丽萍",399800,"2014-11-03","电脑登录"]
[64,"化学化工学院","0600576S","03030623","高效液相色谱仪","ALLTECH","盛丽萍",266175,"2006-03-27","电源控制"]
[65,"化学化工学院","0902919S","03030215","差示扫描量热仪","DSC200F3","盛丽萍",182000,"2009-12-07","电脑登录"]
[66,"化学化工学院","1304738S","03040425","紫外、可见、近红外分光光度计","UV－3600","宋建新",288000,"2013-11-06","电脑登录"]
[67,"化学化工学院","0902192S","03040108","倒置荧光显微镜","Eclipse Ti-S","谭亮",346500,"2009-10-29","电脑登录"]
[68,"化学化工学院","1300617S","03040108","多功能光学显微镜","Nikon Eclipse Ni-U","魏琳",707000,"2013-03-20","电脑登录"]
[69,"化学化工学院","1502331S","03060120","纳米电位系统","ZS90","魏琳",300100,"2015-06-19","电脑登录"]
[70,"化学化工学院","1305134S","03040100","研究级系统显微镜","尼康 Ti-U","魏琳",200216,"2013-11-19","电脑登录"]
[71,"化学化工学院","202316430S","03040404","傅立叶红外光谱仪","WQF-530A","魏琳",144800,"2023-11-07","无"]
[72,"化学化工学院","202316429S","03040404","傅立叶红外光谱仪","WQF-530A","魏琳",144800,"2023-11-07","无"]
[73,"化学化工学院","0403950S","03040404","付立叶红外光谱分析仪","NEXUS","肖毅",568212,"2004-12-23","电脑登录"]
[74,"化学化工学院","0400428S","03040425","紫外  可见光谱仪","U3310","肖毅",252000,"2004-04-06","电源控制"]
[75,"化学化工学院","1902490S","03040404","电感耦合等离子体发射光谱仪","iCAP7200","肖自胜",627900,"2019-10-12","电脑登录"]
[76,"化学化工学院","1604033S","03030131","可控强度调制光电化学谱仪","CIMPS-2","谢青季",497000,"2016-09-18","电脑登录"]
[77,"化学化工学院","202305112S","03030923","酶联免疫分析仪（多功能酶标仪）","奥盛/Feyond-A300","熊二虎",199000,"2022-12-15","电脑登录"]
[78,"化学化工学院","1507164S","03030502","单晶衍射仪","Agilent Texhnologies Inc.Super","徐凌",2869500,"2015-12-18","电源控制"]
[79,"化学化工学院","0701611S","03030606","全自动比表面积与孔隙分析仪","Tristar 3000","徐满才",344450,"2007-07-05","电脑登录"]
[80,"化学化工学院","202275903S","03030623","高效液相色谱仪","岛津LC-16","杨星",165000,"2020-09-30","电脑登录"]
[81,"化学化工学院","1502955S","04220201","双螺杆挤出机","SHJ20B","易春旺",111000,"2015-07-14","电源控制"]
[82,"化学化工学院","1806033S","03030714","基质辅助激光解析电离串联飞行时间质谱仪","Commodity Specifications","尹帮少",3298800,"2018-12-13","电脑登录"]
[83,"化学化工学院","202303057S","03030709","500 MHz超导核磁共振波谱仪","Quantum-I Plus 500 MHz","尹帮少",1279000,"2023-04-27","电脑登录"]
[84,"化学化工学院","2002573S","03151402","筛板蒸馏塔实验装置","LPK-BDIS-C","尹疆",129700,"2020-11-03","无"]
[85,"化学化工学院","2100767S","03151402","筛板蒸馏塔实验装置","LPK-BDIS-C","尹疆",129600,"2021-04-09","无"]
[86,"化学化工学院","202303465S","03141009","吸收与解吸实验装置","莱帕克 LPK-BABD-","尹疆",119000,"2022-12-19","无"]
[87,"化学化工学院","202303464S","03141009","吸收与解吸实验装置","莱帕克 LPK-BABD-","尹疆",119000,"2022-12-19","无"]
[88,"化学化工学院","202303463S","03000000","筛板精馏实验装置","莱帕克 LPK-BDIS-","尹疆",129000,"2022-12-19","无"]
[89,"化学化工学院","2004271S","03040428","荧光分光光度计","F-7100","尹鹏",279600,"2020-12-08","电脑登录"]
[90,"化学化工学院","2101479S","03040426","紫外分光光度计","UV-2600I","尹鹏",180880,"2021-05-17","电脑登录"]
[91,"化学化工学院","2101432S","03040701","透射电子显微镜","JEM-2100","喻宁亚",3299000,"2021-05-13","电脑登录"]
[92,"化学化工学院","0400435S","03030215","差热  热重分析仪","*","张超",378000,"2004-04-06","电源控制"]
[93,"化学化工学院","1709848S","03030623","高效液相色谱仪","Alltech1500","张超",196000,"2017-12-26","电脑登录"]
[94,"化学化工学院","1709801S","03030623","气相色谱仪","GC-2010plus","张超",178000,"2017-12-20","电脑登录"]
[95,"化学化工学院","0403949S","03040428","荧光分光光度计","F-4500","张吉林",276806,"2004-12-23","电脑登录"]
[96,"化学化工学院","202316284S","03210403","热释光光谱仪","SL-08","张吉林",200000,"2023-11-07","无"]
[97,"化学化工学院","1502345S","03030409","荧光光谱仪","QM40","张友玉",468800,"2015-06-19","电脑登录"]
[98,"化学化工学院","0902635S","03040428","荧光分光光度计","F-7000","张友玉",298626,"2009-12-05","电脑登录"]
[99,"化学化工学院","0902191S","03040426","紫外可见分光光度计","UV-2450","张友玉",184940,"2009-10-29","电脑登录"]
[100,"化学化工学院","1904425S","03030606","低温氮气吸脱附仪","ASAP 2460","钟文周",598500,"2019-12-05","电脑登录"]
[101,"化学化工学院","1901224S","03030623","气相色谱仪","Nexis-GC-2030","钟文周",168500,"2019-05-16","电脑登录"]
[102,"化学化工学院","202105191S","03030724","气相色谱质谱联用仪","安捷伦/8860-5977B","周旺",400800,"2021-11-01","电脑登录"]
[103,"化学化工学院","202105192S","03030623","气相色谱仪","安捷伦/8860","周旺",121000,"2021-11-01","电脑登录"]
[104,"化学化工学院","202312243S","03040606","圆二色光谱仪","佳斯科 J-1500","邹振",994600,"2022-12-20","电脑登录"]
[105,"化学化工学院","202305113S","07060220","流式细胞仪","贝克曼 CytoFLEX S","邹振",1098000,"2022-12-19","电脑登录"]
[106,"生命科学学院","1300815S","03061702","高速落地式离心机","J-26XP","曹秋香",198000,"2013-04-12","电源控制"]
[107,"生命科学学院","0402023S","03061704","高速冷冻离心机","Allegrax-22R","曹秋香",103580,"2004-10-25","电源控制"]
[108,"生命科学学院","1202408S","03040107","荧光倒置显微镜","IX71","曹秋香",179900,"2012-10-10","电脑登录"]
[109,"生命科学学院","1202406S","03040112","荧光体视显微镜","SZX10","曹秋香",147972,"2012-10-10","电源控制"]
[110,"生命科学学院","202303736S","03030434","化学发光成像系统","Tanon5200","曹秋香",149000,"2023-05-19","电脑登录"]
[111,"生命科学学院","202262592S","05010501","3D生物打印系统","LB315","陈海燕",544800,"2022-10-24","电脑登录"]
[112,"生命科学学院","1504538S","03030714","质谱蛋白质分析系统",5800,"陈敏芝",2338000,"2015-10-28","电脑登录"]
[113,"生命科学学院","1203070S","03150615","生物膜片钳系统","EPC-10USB","陈敏芝",436000,"2012-11-05","电脑登录"]
[114,"生命科学学院","0902652S","03030623","高效液相色谱仪","Model:e2695","陈敏芝",404340,"2009-12-05","电脑登录"]
[115,"生命科学学院",98369700,"03250200","膜片钳放大器","EPC-9","陈敏芝",141282.14,"1998-12-31","无"]
[116,"生命科学学院","2100750S","03100104","蛋白质测序仪","PPSQ-51A","陈敏芝",1201900,"2021-04-07","电脑登录"]
[117,"生命科学学院","2000526S","03040134","高速钙离子成像系统","IX83","陈敏芝",836000,"2020-05-25","电脑登录"]
[118,"生命科学学院","2000527S","03030623","高效相色谱系统","Acquity Arc","陈敏芝",395800,"2020-05-25","电脑登录"]
[119,"生命科学学院","202103481S","03250590","卵母细胞双电极杆电压钳系统","OC-725D","陈敏芝",296600,"2021-10-08","无"]
[120,"生命科学学院","1600401S","07060143","双荧光细胞分析仪","CllometerK2","陈敏芝",239800,"2016-01-15","电脑登录"]
[121,"生命科学学院","1004403S","03061702","高速离心机","CF-16rx","陈敏芝",232097.5,"2010-12-31","无"]
[122,"生命科学学院","2000529S","07060210","电转染系统","Neon","陈敏芝",209000,"2020-05-25","电源控制"]
[123,"生命科学学院","1101074S","03040107","荧光倒置显微镜","1×71","陈敏芝",149000,"2011-06-10","电脑登录"]
[124,"生命科学学院","202313515S","03040108","倒置荧光显微镜","麦克奥迪 AE31E-EF-I-MY","陈湘定",103800,"2022-12-25","无"]
[125,"生命科学学院","1900468S","03030623","四元梯度高效液相色谱仪","e2695","陈作红",455000,"2019-04-18","电脑登录"]
[126,"生命科学学院","202271048S","03030429","便携式X荧光光谱仪","E-MAX 500/美国S-PEC","戴小军",605000,"2022-07-11","无"]
[127,"生命科学学院",20003705,"03040428","荧光磷光生物发光光度","LS-50B","邓乐",361089.04,"2000-11-10","无"]
[128,"生命科学学院","0900289S","03040428","荧光/磷光分光光度计","LS55","邓乐",236598,"2009-03-30","电脑登录"]
[129,"生命科学学院",20003704,"03040425","紫外/可见分光光度计","Lambda 40","邓乐",132363.41,"2000-11-10","无"]
[130,"生命科学学院","1600402S","03061827","摇床","I26R","邓乐",122500,"2016-01-15","电源控制"]
[131,"生命科学学院","1802732S","03040112","荧光体视显微镜","M205FA","邓云",403000,"2018-11-12","电脑登录"]
[132,"生命科学学院","2005827S","03030973","实时荧光定量PCR分析仪","CFX Conect","邓云",209000,"2020-12-16","电脑登录"]
[133,"生命科学学院","2001695S","03250221","斑马鱼行为分析系统","Zebralab","邓云",169000,"2020-07-16","电脑登录"]
[134,"生命科学学院","1801260S","03040426","紫外分光光度计","NanoDrop one","邓云",114500,"2018-07-04","无"]
[135,"生命科学学院","202341836S","07060220","流式细胞分选仪","MoFlo Astrios EQ","丁小凤",4194800,"2023-11-09","电脑登录"]
[136,"生命科学学院","1403658S","03030623","半制备液相色谱仪","WATERS 1525EF","段志贵",342000,"2014-11-05","电脑登录"]
[137,"生命科学学院","202106896S","07060220","流式细胞仪","Invitrogen Attune NxT","何善平",609800,"2021-11-11","电脑登录"]
[138,"生命科学学院","202308423S","03040639","化学发光成像仪","Bio-rad ChemiDoc","何善平",372000,"2023-07-06","无"]
[139,"生命科学学院","0402013S","03040100","激光共聚焦显微镜","Rodiance 210 AGR-B","胡翔",1495200,"2004-10-25","无"]
[140,"生命科学学院","0606492S","07060200","流式细胞仪","FACSCalibur","胡翔",522900,"2006-09-27","电源控制"]
[141,"生命科学学院","0402011S","03030920","蛋白质提纯系统","AKTA purifier 100","胡翔",393120,"2004-10-25","无"]
[142,"生命科学学院","1502224S","03030623","高效毛细管电泳液相色谱系统","CL3030","胡翔",229700,"2015-06-15","电脑登录"]
[143,"生命科学学院","1001365S","03040115","荧光体式显微镜系统","SZX16（IX71）","胡翔",195980,"2010-08-31","无"]
[144,"生命科学学院","0901317S","03040107","研究级倒置荧光显微镜","IX71","胡翔",155100,"2009-07-22","无"]
[145,"生命科学学院","1302378S","03040105","体视显微镜成像系统","SZX-16","黄骊群",151800,"2013-07-11","电脑登录"]
[146,"生命科学学院","1700724S","03170318","双色红外激光成像系统","HE-120","黄骊群",496800,"2017-03-23","电脑登录"]
[147,"生命科学学院","1607093S","03030973","荧光定量PCR仪","Quant Studio 5","黄骊群",435000,"2016-11-09","电脑登录"]
[148,"生命科学学院","1200798S","03061703","超速离心机","Optima L-90K","黄伟涛",348000,"2012-05-16","电源控制"]
[149,"生命科学学院","1405299S","07030110","小动物活体成像系统","IVIS SPECTRUM","黄伟涛",2590000,"2014-12-17","电源控制"]
[150,"生命科学学院","1202068S","03040100","激光共聚焦显微镜","LSM 710","黄伟涛",2380000,"2012-09-20","电源控制"]
[151,"生命科学学院","1701194S","03040702","高分辨发射扫描式电镜","SU8010","黄伟涛",2197000,"2017-05-23","电源控制"]
[152,"生命科学学院","1701195S","03030920","蛋白纯化仪","AKTA avant 25","黄伟涛",699600,"2017-05-23","电脑登录"]
[153,"生命科学学院","1307184S","03030623","高效液相色谱仪","G1361A","黄伟涛",470000,"2013-12-24","电脑登录"]
[154,"生命科学学院","0701495S","03030900","生物分子快速纯化系统","AKTApurifier 100","黄伟涛",390132,"2007-05-21","电脑登录"]
[155,"生命科学学院","1507071S","03040107","倒置荧光显微镜","AXIO OBSERVER A1","黄伟涛",390000,"2015-12-17","电脑登录"]
[156,"生命科学学院","0800513S","03030973","荧光定量PCR仪",7500,"黄伟涛",333942,"2008-04-10","电脑登录"]
[157,"生命科学学院","1800882S","03030923","多功能酶标仪","M5","黄伟涛",299000,"2018-05-29","电脑登录"]
[158,"生命科学学院","1004323S","03061827","多层环境控制摇床","I4900nnova4900","黄伟涛",280000,"2010-12-30","无"]
[159,"生命科学学院","1802067S","03060521","离心浓缩仪","SPD131DDA-230","黄伟涛",208500,"2018-10-10","电源控制"]
[160,"生命科学学院","1507167S","03060918","厌氧工作站","DG250","黄伟涛",155000,"2015-12-21","电源控制"]
[161,"生命科学学院","1502374S","03040408","紫外可见分光光度计","DR6000","黄伟涛",154400,"2015-06-24","电源控制"]
[162,"生命科学学院","1507072S","03040101","正置显微镜","AXIO SCOPE A1","黄伟涛",103500,"2015-12-17","电脑登录"]
[163,"生命科学学院","0303056S","03040703","扫描探针显微镜","SPA-400AFM","黄伟涛",629000,"2003-12-16","电源控制"]
[164,"生命科学学院","1603498S","03040100","正置荧光显微镜","Axio ImagerM2","江志钢",675000,"2016-09-07","电脑登录"]
[165,"生命科学学院","1102301S","03040107","荧光倒置显微镜","IX71","江志钢",210000,"2011-11-09","电脑登录"]
[166,"生命科学学院","1102302S","03040112","立体显微镜","SZX-16","江志钢",177000,"2011-11-09","电脑登录"]
[167,"生命科学学院",20015551,"03040108","荧光显微镜","尼康","江志钢",105272.84,"2001-12-11","无"]
[168,"生命科学学院","1403686S","03030973","荧光定量PCR仪","PIKOREAL 96","姜孝成",226800,"2014-11-10","电脑登录"]
[169,"生命科学学院","1004404S","03040108","生物荧光显微镜","Olympus BX51","李东屏",143884,"2010-12-31","无"]
[170,"生命科学学院",20014596,"03061703","离心机","Biofuge Stratos","李国林",106640,"2001-11-08","无"]
[171,"生命科学学院","1607092S","03030901","氨基酸分析仪","L-8900","廖琼",619000,"2016-11-09","电脑登录"]
[172,"生命科学学院","1604057S","03030973","荧光定量PCR仪","Quanstudio 5","廖琼",415000,"2016-09-21","电脑登录"]
[173,"生命科学学院","1604959S","03040107","荧光倒置显微镜带成像系统","DMI8","廖琼",367900,"2016-10-26","电脑登录"]
[174,"生命科学学院","1604623S","03030623","高效液相色谱仪","Agilent 1260","廖琼",328620,"2016-10-18","电脑登录"]
[175,"生命科学学院","1604063S","03040404","近红外光谱分析仪","DA7200","廖琼",320000,"2016-09-21","电源控制"]
[176,"生命科学学院","1604624S","03030623","高效液相色谱仪","Agilent 1260","廖琼",307890,"2016-10-18","电脑登录"]
[177,"生命科学学院","1604626S","03030623","气相色谱仪","Agilent 7890","廖琼",277600,"2016-10-18","电脑登录"]
[178,"生命科学学院","1604089S","03061702","高速落地离心机","Avanti JXN-26","廖琼",250000,"2016-09-21","电源控制"]
[179,"生命科学学院","1604058S","03030833","多功能微孔板检测仪","Synergy HTX","廖琼",225000,"2016-09-21","电脑登录"]
[180,"生命科学学院","1604960S","03040108","正置荧光显微镜","DM3000","廖琼",220000,"2016-10-26","电脑登录"]
[181,"生命科学学院","1604062S","03030434","化学发光成像系统","Genegnome XRQ","廖琼",160000,"2016-09-21","电脑登录"]
[182,"生命科学学院","1902578S","03040701","透射式电子显微镜","HT7800","刘锦辉",3946700,"2019-10-21","无"]
[183,"生命科学学院","0403927S","03061814","全自动超薄切片机","UL TRACUT UCT","刘锦辉",444487,"2004-12-22","无"]
[184,"生命科学学院","0402009S","03040702","扫描式电子显微镜","JSM-6360LV","刘锦辉",826056,"2004-10-25","电源控制"]
[185,"生命科学学院","202201458S","03060715","超薄切片系统","徕卡/EM UC7","刘锦辉",1093800,"2022-03-01","电脑登录"]
[186,"生命科学学院","202313516S","03040101","倒置荧光显微镜","麦克奥迪AE31E-EF-I-MY","舒玉琴",103800,"2022-12-25","电脑登录"]
[187,"生命科学学院","202273092S","03040112","显微注射（体视显微镜及显微操作系统）","SZX16","覃钦博",198000,"2022-11-29","电源控制"]
[188,"生命科学学院","202303737S","03061704","高速冷冻离心机","CH260R","吴慧",184900,"2023-05-19","电源控制"]
[189,"生命科学学院","202102253S","03030994","分子相互作用分析仪","Open SPR","夏立秋",569000,"2021-07-09","电脑登录"]
[190,"生命科学学院","202201451S","03040108","倒置荧光显微镜","蔡司/Axio vert.A1","肖军",296800,"2022-01-08","电脑登录"]
[191,"生命科学学院","1505779S","03030923","多功能酶标仪","Synergy2","肖军",279580,"2015-12-07","电脑登录"]
[192,"生命科学学院","1602636S","03030165","脉冲场电泳系统","CHEF-DR-II","肖军",239000,"2016-06-14","电源控制"]
[193,"生命科学学院","1602634S","03030434","化学发光成像系统","GeneGnome XRQ","肖军",169800,"2016-06-14","电脑登录"]
[194,"生命科学学院","2000531S","07060210","多功能基因电转化仪","BTX GEMINI X2","肖亚梅",267500,"2020-05-25","电源控制"]
[195,"生命科学学院","2100754S","03061868","自动原位杂交仪","ZF-A4","谢华平",178000,"2021-04-08","电源控制"]
[196,"生命科学学院","1607094S","03040101","显微镜","M205C","许昕",155000,"2016-11-09","电脑登录"]
[197,"生命科学学院","1003169S","03030714","液相色谱线性离子肼质谱系统","LTQXL","余子全",2162000,"2010-12-02","电脑登录"]
[198,"生命科学学院","1301352S","03030623","高效液相色谱仪",1290,"余子全",500680,"2013-05-15","电脑登录"]
[199,"生命科学学院","1003170S","03030600","双色红外激光成像系统",9120,"余子全",362000,"2010-12-02","电脑登录"]
[200,"生命科学学院","1003171S","03060521","离心浓缩仪","SPD121P","余子全",130150,"2010-12-02","电源控制"]
[201,"生命科学学院","1900855S","03040101","研究级正置显微镜","Axio Imager M2","翟宗昭",417900,"2019-04-24","电脑登录"]
[202,"生命科学学院","202200726S","05020720","研究级正置高倍显微摄像系统","DM2500 LED","张纯",298000,"2022-01-12","电脑登录"]
[203,"生命科学学院","202201392S","03030973","数字PCR仪","Naica","赵如榕",1696000,"2022-04-19","电脑登录"]
[204,"生命科学学院","1306787S","03040101","激光共聚焦显微镜","FV1200","赵如榕",1597200,"2013-12-13","电脑登录"]
[205,"生命科学学院","0802518S","03030900","活细胞工作站","Ti-E","赵如榕",1335000,"2008-11-20","电脑登录"]
[206,"生命科学学院",20021957,"03030925","基因分析系统","CEQ8000","赵如榕",892500,"2002-11-29","无"]
[207,"生命科学学院","1700759S","03141313","流式细胞分析仪","cyFlowploidyAnalyser","赵如榕",509700,"2017-03-29","电脑登录"]
[208,"生命科学学院","0702387S","03040100","全电动智能显微镜","DM6000B","赵如榕",506300,"2007-09-30","电脑登录"]
[209,"生命科学学院","0900816S","03030901","全自动氨基酸分析仪","L-8900","赵如榕",499996,"2009-05-20","电脑登录"]
[210,"生命科学学院","2002356S","03030973","实时荧光定量PCR分析仪","Quantstudio 5","赵如榕",493800,"2020-10-28","电脑登录"]
[211,"生命科学学院","0501654S","03030973","荧光定量PCR仪",7500,"赵如榕",450500,"2005-06-30","电脑登录"]
[212,"生命科学学院","1202405S","03040107","倒置荧光显微镜","DMI3000B","赵如榕",392000,"2012-10-10","电脑登录"]
[213,"生命科学学院","0704302S","07060200","流式细胞仪","PA","赵如榕",367500,"2007-12-24","电源控制"]
[214,"生命科学学院","1000539S","03030151","蛋白质双向电泳系统","Etta 2D","赵如榕",357500,"2010-04-21","电脑登录"]
[215,"生命科学学院","0702388S","03040108","荧光体式显微镜","MZ16FA","赵如榕",348600,"2007-09-30","电脑登录"]
[216,"生命科学学院","1701309S","07060231","活体细胞组织形态分析系统","BX63","赵如榕",348000,"2017-05-27","电脑登录"]
[217,"生命科学学院","1004413S","03040108","体视荧光显微镜","SZX12","赵如榕",302522,"2010-12-31","电脑登录"]
[218,"生命科学学院","1201129S","03040148","生物显微操作系统","TransferMan NI2","赵如榕",287000,"2012-06-25","电源控制"]
[219,"生命科学学院","0501653S","03060715","研究级冷冻切片机","CM3050S","赵如榕",238000,"2005-06-30","电源控制"]
[220,"生命科学学院","0503956S","03040107","倒置荧光显微镜","DMIRB","赵如榕",214200,"2005-12-28","无"]
[221,"生命科学学院","0701655S","03061826","染色机","ST4040","赵如榕",151890,"2007-07-06","无"]
[222,"生命科学学院","0400559S","03040108","倒置荧光显微镜","奥林巴斯　CKX41-32PH","赵如榕",101605,"2004-04-16","电源控制"]
[223,"生命科学学院","1400274S","03030923","多功能酶标仪","Enspire","周畅",273600,"2014-01-10","电脑登录"]
[224,"生命科学学院","0502728S","03030973","荧光定量PCR仪","7900HT","周建林",850000,"2005-12-13","电脑登录"]
[225,"生命科学学院","0400547S","03040108","荧光显微镜","Ax10skop 2PLUS","周建林",266594,"2004-04-15","电脑登录"]
[226,"生命科学学院","1701715S","03250257","昆虫触角电位测量系统","EAD","周琼",324600,"2017-06-15","无"]
[227,"生命科学学院","1701716S","03030623","气相色谱仪","Agilent 7890B","周琼",244800,"2017-06-15","无"]
[228,"生命科学学院","202262602S","03250214","细胞外记录系统","PL3508","周熙",233600,"2022-10-24","电脑登录"]
[229,"生命科学学院","202307370S","03030920","全自动蛋白纯化系统","ÄKTApure25","周熙",588000,"2023-06-21","电脑登录"]
[230,"生命科学学院","202307369S","03030623","高效液相色谱仪","ARCHPLC","周熙",468200,"2023-06-21","电脑登录"]
[231,"物理与电子科学学院","1605072S","03040701","透射电子显微镜","TecnaiG2F20","曾松军",5398000,"2016-10-28","电源控制"]
[232,"物理与电子科学学院","1701669S","07030303","多功能小动物活体成像仪","Bruker/In Vivo Fx Pro","曾松军",1480000,"2017-06-13","电源控制"]
[233,"物理与电子科学学院","202111025S","03040108","纳米荧光成像显微镜系统","Cytoviva HSI","曾松军",1348000,"2021-11-29","电源控制"]
[234,"物理与电子科学学院","1900146S","03040405","近红外成像系统","InGaAs","曾松军",1248000,"2019-03-15","电源控制"]
[235,"物理与电子科学学院","1604679S","03020606","磁共振成像系统","NM-GI","曾松军",1049000,"2016-10-24","电源控制"]
[236,"物理与电子科学学院","1701439S","03190600","任意信号发生器","awg7122c","陈明",454580,"2017-06-06","电源控制"]
[237,"物理与电子科学学院","1701438S","03190301","高速实时示波器","wavemasterzi-a","陈明",385000,"2017-06-06","电源控制"]
[238,"物理与电子科学学院","202342780S","03061703","超速离心机","CP80NX","陈文沅",725000,"2023-12-07","电源控制"]
[239,"物理与电子科学学院","202343385S","03190503","数字电桥测试系统","E4980AL","冀冰",141000,"2023-12-08","电脑登录"]
[240,"物理与电子科学学院","1604524S","03021202","太阳能电池测试仪ipce","scs056","梁珊",280000,"2016-10-13","电脑登录"]
[241,"物理与电子科学学院","1604523S","03021202","太阳能电池IV测试仪","7-IV50S","梁珊",213000,"2016-10-13","电脑登录"]
[242,"物理与电子科学学院","1700128S","03030502","X射线衍射仪","d8 discover","彭跃华",2398800,"2017-01-09","电脑登录"]
[243,"物理与电子科学学院","202308258S","03030502","X射线衍射仪","TD-3500","彭跃华",296000,"2023-09-04","电脑登录"]
[244,"物理与电子科学学院","1901692S","03061900","超导量子器件极低温综合物性测量系统","BF-LD40","彭智慧",4976100,"2019-06-10","电脑登录"]
[245,"物理与电子科学学院","1602146S","03190711","高速信号采样系统","86100D","彭智慧",462000,"2016-05-31","无"]
[246,"物理与电子科学学院","202262052S","03060301","高真空有机蒸发薄膜沉积系统","YYDZS035UA02","钱川",282000,"2022-10-19","无"]
[247,"物理与电子科学学院","1700189S","03250173","声音信号检测系统","FOPH2000","钱盛友",399000,"2017-01-11","无"]
[248,"物理与电子科学学院","1700188S","03190806","射频宽带高功率放大器","2100L","钱盛友",109000,"2017-01-11","无"]
[249,"物理与电子科学学院","1800079S","07120404","台阶仪","p7","唐雄贵",440000,"2018-01-11","电源控制"]
[250,"物理与电子科学学院","1602148S","03030400","光谱仪","AQ6370D-20","唐雄贵",245000,"2016-05-31","无"]
[251,"物理与电子科学学院","1605047S","03040900","可调谐激光器","ModBox-TTX-CP-LP-PM-FA","唐雄贵",197000,"2016-10-27","无"]
[252,"物理与电子科学学院","1605048S","03010524","可调谐光滤波器","OTF-970-1-s-s-F-AP-0","唐雄贵",151800,"2016-10-27","无"]
[253,"物理与电子科学学院","1602152S","03041100","单光子探测器","WT-SPD200-LN","唐雄贵",132000,"2016-05-31","无"]
[254,"物理与电子科学学院","1602153S","03041100","单光子探测器","WT-SPD200-LN","唐雄贵",132000,"2016-05-31","无"]
[255,"物理与电子科学学院","1602151S","03040912","高速皮秒激光器","WT-LD100","唐雄贵",118000,"2016-05-31","无"]
[256,"物理与电子科学学院","202343386S","03040840","偏振红外光电响应测试系统","TMIR-ns2743","王伟科",329800,"2023-12-08","无"]
[257,"物理与电子科学学院","1800884S","03030708","X射线光电子能谱仪","ESCALAB250Xi","殷艳玲",4298800,"2018-05-29","电源控制"]
[258,"物理与电子科学学院","1301304S","03040702","超高分辨场发射扫描电子显微镜","SEM450","殷艳玲",3062600,"2013-05-10","电源控制"]
[259,"物理与电子科学学院","2001789S","03060301","电子束蒸发镀膜仪","LAB Line","殷艳玲",1308800,"2020-09-14","电源控制"]
[260,"物理与电子科学学院","2001788S","03190442","半导体分析测试系统","SCS4200","殷艳玲",1179800,"2020-09-14","电源控制"]
[261,"物理与电子科学学院","0802950S","03040425","紫外可见近红外分光光度计","Lambda 750","殷艳玲",360850,"2008-12-29","电脑登录"]
[262,"物理与电子科学学院","0602621S","03020217","电输运测试系统","6430-2602-2182A-6221","殷艳玲",276979.3,"2006-05-10","无"]
[263,"物理与电子科学学院","202275618S","03060399","定制单室高真空电阻式镀膜设备","沈阳科诚 KC-ZD400","翟亚新",260000,"2022-11-03","电源控制"]
[264,"物理与电子科学学院","202314828S","03040404","超快瞬态吸收光谱系统","TA100-800nm","翟亚新",890000,"2022-12-23","电脑登录"]
[265,"物理与电子科学学院","1906155S","03070201","天文望远镜","KPW400ZF","章利",683880,"2019-12-18","无"]
[266,"物理与电子科学学院","202258357S","03030623","高效液相色谱仪","岛津 LC-20AT","周海青",258980,"2022-04-11","电脑登录"]
[267,"物理与电子科学学院","1900512S","03030100","电化学工作站","Reference3000","周海青",226200,"2019-04-22","电脑登录"]
[268,"物理与电子科学学院","2100630S","03030154","旋转圆盘电极","AFMSRCE","周海青",167000,"2021-03-29","电脑登录"]
[269,"物理与电子科学学院","1902261S","03030100","电化学工作站","Reference600+","周海青",159000,"2019-09-09","电脑登录"]
[270,"物理与电子科学学院","2100666S","03030000","小电流工作站","Reference 600+","周海青",159000,"2021-03-30","电脑登录"]
[271,"物理与电子科学学院","2100667S","03030000","大电流工作站","Interface 5000E","周海青",138000,"2021-03-30","电脑登录"]
[272,"物理与电子科学学院","202275619S","03030193","小功率电化学工作站","Gamry Instruments,Inc.Interface 1010E","周海青",126800,"2022-12-15","无"]
[273,"物理与电子科学学院","1604522S","03040405","拉曼光谱仪系统","LABHRev-UV-Open","周伟昌",1879000,"2016-10-13","电脑登录"]
[274,"物理与电子科学学院","1801805S","03190551","载流子动力学测试系统","MicroTime-100","周伟昌",1595000,"2018-09-14","电源控制"]
[275,"物理与电子科学学院","202343383S","03040999","纳秒激光器","Penny-B-300","周伟昌",199300,"2023-12-08","无"]
[276,"物理与电子科学学院","1602473S","03190706","语音分析系统","vs-99","邹孝",150000,"2016-06-02","电脑登录"]
[277,"医学院","1905008S","03030973","荧光PCR自动系列化分析仪","7300PLUS","陈适",265000,"2019-12-10","电脑登录"]
[278,"医学院","1905009S","03040107","倒置荧光显微镜","DMIL LED","陈适",217000,"2019-12-10","电脑登录"]
[279,"医学院","1900930S","03040108","倒置荧光显微镜","DMi8","何祖平",296800,"2019-04-29","电脑登录"]
[280,"医学院","2001761S","03040108","正置荧光显微镜","DM3000LED","何祖平",224200,"2020-09-07","电脑登录"]
[281,"医学院","2001759S","03040408","超微量分光光度计","Nana drop One","何祖平",140500,"2020-09-07","无"]
[282,"医学院","2001760S","03030611","迷你化学发光和自动凝胶成像系统","Mini610+ChampGe15000","何祖平",121500,"2020-09-07","电脑登录"]
[283,"医学院","1902310S","03061704","高速冷冻离心机","Multifuge X1R","何祖平",106000,"2019-09-18","无"]
[284,"医学院","1806001S","03030434","化学发光成像系统","Tanon-5200","刘如石",138000,"2018-12-12","电脑登录"]
[285,"医学院","1700753S","03250221","生物分子相互作用系统","Biacore X100","刘如石",1291000,"2017-03-28","电脑登录"]
[286,"医学院","1700265S","03061704","高速冷冻离心机","3-30KS","罗宜孝",128500,"2017-02-21","电源控制"]
[287,"医学院","2006336S","03040100","超高分辨共聚显微镜","Leica TCS SP8 SR","全梅芳",2090000,"2020-12-28","电脑登录"]
[288,"医学院","1505902S","07060220","流式细胞仪系统","FACSCantoII","全梅芳",900000,"2015-12-11","电脑登录"]
[289,"医学院","1903389S","03061704","超速离心机","Optima XE-100","全梅芳",558200,"2019-11-20","无"]
[290,"医学院","1903390S","04050913","胶体金试条研发三维喷点技术平台系统","XYZ3060","全梅芳",498600,"2019-11-20","电源控制"]
[291,"医学院","1502610S","03030923","多功能酶标仪","Synergy 2","全梅芳",274000,"2015-06-30","电脑登录"]
[292,"医学院","202201400S","03040101","正置显微镜","AxioScope5","全梅芳",182600,"2022-04-25","电脑登录"]
[293,"医学院","1607837S","03061704","高速冷冻离心机","Avanti JXN-30","全梅芳",260000,"2016-12-05","电源控制"]
[294,"医学院","1505907S","03040112","体视显微镜","SZX16","全梅芳",218600,"2015-12-11","电脑登录"]
[295,"医学院","202101288S","03100104","蛋白质层析系统","AKTApure","全梅芳",477800,"2021-07-01","电脑登录"]
[296,"医学院","202307237S","07060200","活细胞工作站","Operetta CLS ＆ plate::handler flex","全梅芳",3766800,"2023-06-21","电脑登录"]
[297,"医学院","1702588S","03030954","智能切片定量分析系统","Vectra","邵佳",1641000,"2017-11-09","电脑登录"]
[298,"医学院","1702587S","03020606","小动物成像系统","IVIS Lumina LT","邵佳",1031000,"2017-11-09","电脑登录"]
[299,"医学院","2100325S","03040465","动态光散射仪","Zetasizer Nano ZS90","陶晓军",345000,"2021-01-15","电脑登录"]
[300,"医学院","202316270S","03040429","原子吸收分光光度计","WFX-220","阎政礼",174000,"2023-11-07","电脑登录"]
[301,"医学院","202300705S","03040404","化学发光成像系统","QuickChemi5200","阎政礼",138600,"2023-04-14","电脑登录"]
[302,"医学院","1502601S","03040107","倒置荧光显微镜","DMI3000 B","杨小平",238200,"2015-06-30","电脑登录"]
[303,"医学院","1502602S","03030923","多功能酶标仪","Synergy HTX","杨小平",236600,"2015-06-30","电脑登录"]
[304,"医学院","1502833S","03030973","荧光PCR自动系列化分析仪","CFX Connect","杨小平",236500,"2015-07-09","电脑登录"]
[305,"医学院","1502600S","03060715","冷冻切片机","CM1860UV","杨小平",188500,"2015-06-30","无"]
[306,"医学院","1906138S","03060900","厌氧培养系统","TDR-Y100","郑姣",145000,"2019-12-17","无"]
[307,"医学院","1900478S","03030623","高效液相色谱仪",1525,"邹辉",343000,"2019-04-18","电脑登录"]
[308,"医学院","2001974S","03030623","高效液相色谱仪","1260II","邹辉",331000,"2020-10-08","电脑登录"]
[309,"医学院","1906107S","03030623","高效液相色谱仪","126infinity","邹辉",328000,"2019-12-17","电脑登录"]
[310,"体育学院","0404201S","03250556","运动跑台","PULSAR","陈贻珊",228174,"2004-12-31","电脑登录"]
[311,"体育学院","1709182S","03030000","人体成份分析仪","BOD POD","郭吟",748000,"2017-12-13","电脑登录"]
[312,"体育学院","202309408S","07060143","全自动血细胞仪","BC5130","郭吟",120000,"2023-08-23","电源控制"]
[313,"体育学院","1602140S","03250258","无线式肌电解析系统","TRIGNO LAB","何诗依",248000,"2016-05-30","电脑登录"]
[314,"体育学院","1700424S","03030930","荧光定量PCR仪","CFX Connect","李烨",289800,"2017-03-07","电脑登录"]
[315,"体育学院","1800114S","03040108","荧光显微镜成像系统","NI-U","李烨",218000,"2018-01-16","电脑登录"]
[316,"体育学院","202309375S","03250279","国民体质测试系统","HK6800系列","刘霞",180000,"2023-08-23","无"]
[317,"体育学院","2002975S","03040108","荧光显微镜","德国Leica TL5000","彭夕洋",365000,"2020-11-24","电脑登录"]
[318,"体育学院","1901245S","03250294","斑马鱼呼吸系统","SY10600","彭夕洋",200000,"2019-05-21","无"]
[319,"体育学院","1901031S","03030188","荧光图像分析系统","GP10","彭夕洋",148800,"2019-05-08","电脑登录"]
[320,"体育学院","2100872S","03250294","斑马鱼泳道呼吸测定仪","易科泰","彭夕洋",139500,"2021-04-23","无"]
[321,"体育学院","1901244S","03031300","SSI单通道呼吸代谢测量系统","SSI","郑澜",439500,"2019-05-21","电脑登录"]
[322,"体育学院","202266760S","03140000","果蝇摄食监测系统","Flypad","郑澜",196000,"2022-11-15","电脑登录"]
[323,"教育科学学院","1701830S","07020107","脑电仪系统","AsaLab-176","李琎",765198,"2017-06-23","电脑登录"]
[324,"教育科学学院","2101779S","07020107","64导事件相关电位系统","BP actiCHamp plus","李琎",645900,"2021-06-03","电脑登录"]
[325,"教育科学学院","1608763S","03250161","遥测式眼动仪","RED500","李琎",343800,"2016-12-15","电脑登录"]
[326,"教育科学学院","1803979S","03250161","虚拟现实视觉追踪仪","Eyecontrol V2S-120","张湘一",250000,"2018-12-04","电脑登录"]
[327,"信息科学与工程学院","202343384S","03190999","声学非互易声传输分析测试系统","PXIe-1092/PXIe-8861/PXIe-5423/PXIe-5105","鞠芳芳",299800,"2023-12-08","无"]
[328,"信息科学与工程学院","1700187S","03200813","矢量网络分析仪","ZND","万求真",220000,"2017-01-11","电脑登录"]
[329,"外国语学院","202309951S","03250298","脑电系统","Magstim Inc GES400","杨雨箫",836600,"2023-09-01","电脑登录"]