{"text_format":"2","workbook":"xlsx","n_sheets":2,"sheets":["汇总表","明细表"],"not_rendered":{"charts":0,"images":0,"macros":0,"external_links":0,"defined_names":1,"comments":0,"pivot_tables":1},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900"}

{"sheet":"汇总表","index":0,"n_rows":15,"n_cols":2,"rows_kept":15,"cut":false,"hidden":false,"merged":[]}
[]
[]
["行标签","计数项:资产编号"]
["生科院",73]
["化工院",34]
["物电院",33]
["医学部",15]
["地科院",9]
["体育学院",6]
["工设院",4]
["教科院",3]
["外国语学院",2]
["数统院",1]
["历文院",1]
["总计",181]

{"sheet":"明细表","index":1,"n_rows":182,"n_cols":10,"rows_kept":182,"cut":false,"hidden":false,"merged":[]}
["使用单位","资产编号","资产名称","新增/维护","单价(元)","使用人","型号、品牌","规格","厂家、产地","购置日期"]
["地科院","202307944S","闭路涡动协方差系统","新增并维护",1048000,"刘泽麟","CPEC310","CO2:0~1000μmol/mol,1%，H20:0~72mol/mol,2%，CH4:0~25μ","Cambell","2023-06-27"]
["地科院","2002262S","液相色谱质谱联用仪","维护",1879800,"饶志国","1290+6470","*","安捷伦","2020-10-15"]
["地科院","1405163S","便携式地物波谱仪","维护",746000,"杨波","FieldSpec 4","*","美国ASD","2014-06-12"]
["地科院","1503595S","水同位素分析仪","维护",687800,"肖雄","908-0004-9002/912-0026-1000","*","LGR公司","2015-04-01"]
["地科院","1404914S","原子吸收光谱仪","维护",495000,"万大娟","PinAAcle 900T","*","Perkin Elmer","2014-09-26"]
["地科院","2001071S","元素分析仪","维护",462000,"李忠武","Vario Macro Cube","*","德国 Elementar","2020-06-29"]
["地科院","0901019S","便携式光合作用仪","维护",460200,"韩广","LI-6400XT","*","美国Gene Companglimited","2009-04-20"]
["地科院","1601238S","原子荧光形态一体机","维护",445010,"王欣","LC-AFS6500","*","北京海光仪器有限公司","2016-04-02"]
["地科院","2001070S","全自动间断化学分析仪","维护",316000,"李忠武","Smartchem 140","*","意大利 AMS","2020-06-29"]
["工设院","1701703S","人体三维测量扫描仪","维护",738000,"周蔚东","VITUS SMART LC3","*","德国HUMAN SOLUTIONS 公司","2014-04-16"]
["工设院","1700326S","3D Systems打印机","维护",625000,"吴延","Projet 3510 HD","*","北京中科亿达科技有限公司","2016-12-14"]
["工设院","1202682S","立式数控铣床","维护",311500,"颜建强","XD714D","*","汉川机床集团公司","2012-10-16"]
["工设院","1202681S","立式数控铣床","维护",311500,"颜建强","XD714D","*","汉川机床集团公司","2012-10-16"]
["化工院","202407649S","气质联用仪","新增并维护",518000,"马元鸿","GCMS-QP2020","质量范围：优于2—1090amu分辨率：≥2M","日本岛津制作所","2022-12-15"]
["化工院","202344818S","气相色谱质谱联用仪","新增并维护",399000,"肖自胜","EXPEC  3700","升温速率大于等于120度","杭州谱育科技 发展有限公司","2023-12-15"]
["化工院","202308134S","膜片钳-上转换激光共聚焦显微镜成像系统","维护",3399000,"张友玉","EPC10 TCS SP8","单探头放大器，放大器本底噪声小于90fA,具有电压钳和电流钳模式能够测量通道电流。","德国Leica","2019-07-01"]
["化工院","2101432S","透射电子显微镜","维护",3299000,"喻宁亚","JEM-2100","*","日本电子株式会社","2021-05-13"]
["化工院","1806033S","基质辅助激光解析电离串联飞行时间质谱仪","维护",3298800,"宋建新","Commodity Specifications","*","布鲁克","2018-12-07"]
["化工院","1507164S","单晶衍射仪","维护",2869500,"宋建新","Agilent Texhnologies Inc.Super","*","波兰","2015-12-17"]
["化工院","1600351S","液相色谱质谱联用仪","维护",1645000,"陈波","LCMS-8050","*","日本岛津","2016-01-05"]
["化工院","1806321S","X射线粉末衍射仪","维护",1496700,"廉世勋","UItimaIV","*","日本理学","2018-12-07"]
["化工院","202407589S","稳态瞬态荧光光谱仪","维护",1397000,"邹振","爱丁堡FLS1000","FLS1000-SS-stm","英国爱丁堡仪器","2022-12-15"]
["化工院","202303057S","500 MHz超导核磁共振波谱仪","维护",1279000,"尹帮少","Quantum-I Plus 500 MHz","检测核：1H、13C、15N、31P，19F等核","武汉中科牛津波谱技术有限公司","2023-04-27"]
["化工院","202305113S","流式细胞仪","维护",1098000,"邹振","贝克曼 CytoFLEX S","CytoFLEX S","贝克曼库尔特商贸（中国）有限公司","2022-12-19"]
["化工院","202275922S","活细胞显微工作站","维护",1050000,"韩跃","尼康 ECLIPSE TI2-E","40-1000","尼康","2022-12-14"]
["化工院","202312243S","圆二色光谱仪","维护",994600,"邹振","佳斯科 J-1500","波长范扫描围:不低于170-1500nm","佳斯科","2022-12-20"]
["化工院","1903513S","热重红外联用分析仪","维护",856300,"盛丽萍","PerkinElmer TGA 4000-FTIR Fron","*","美国珀金埃尔默","2019-11-22"]
["化工院","1300617S","多功能光学显微镜","维护",707000,"魏琳","Nikon Eclipse Ni-U","*","尼康仪器有限公司","2012-11-23"]
["化工院","1902490S","电感耦合等离子体发射光谱仪","维护",627900,"肖自胜","iCAP7200","*","赛默飞世尔","2019-10-11"]
["化工院","1904425S","低温氮气吸脱附仪","维护",598500,"钟文周","ASAP 2460","*","美国麦克仪器公司","2019-12-04"]
["化工院","202321956S","流变仪","维护",591800,"兰支利","赛默飞世尔/HAAKE MARS60","扭矩分辨率：≤0.1 nNm","Thermo Fisher","2023-11-07"]
["化工院","0403950S","付立叶红外光谱分析仪","维护",568212,"肖毅","NEXUS","*","美国热尼高力公司","2004-12-01"]
["化工院","1604033S","可控强度调制光电化学谱仪","维护",497000,"谢青季","CIMPS-2","*","德国ZAHNER公司","2016-07-08"]
["化工院","1401312S","激光显微拉曼光谱仪","维护",496500,"夏悦","DXR","*","美国赛默飞世尔科技有限公司","2014-04-10"]
["化工院","1502345S","荧光光谱仪","维护",468800,"张友玉","QM40","*","加拿大 PTI","2014-03-17"]
["化工院","0610819S","气相色谱-质谱联用仪","维护",454926,"毛丽秋","GC/MS-QP-2010","*","日本岛津公司","2006-06-01"]
["化工院","202400039S","化学吸附仪","维护",448000,"徐琼","QuantaTec/ChemBET PULSAR TPR/TPD","可测物理吸附气体：N2，Ar，Kr，CO2","Anton Paar QuantaTec","2024-01-09"]
["化工院","202105191S","气相色谱质谱联用仪","维护",400800,"周旺","安捷伦/8860-5977B","1.\t进样量范围：0.1～50ul；进样量线性：≥99%质量数范围：1.6-1050amu，以0.1","安捷伦","2021-10-21"]
["化工院","1403558S","动态力学分析仪","维护",399800,"苏胜培","DMA242E","*","NETZSCH Scientific Instruments Trading(S","2013-10-12"]
["化工院","0400435S","差热  热重分析仪","维护",378000,"伏再辉","*","*","德国耐驰公司","2004-04-01"]
["化工院","1306642S","双波长单光子探测器","维护",349000,"魏琳","iXon Ultra 897","*","Andor Technology","2013-11-08"]
["化工院","2002036S","差示扫描量热仪","维护",346900,"兰支利","DSC25","*","美国TA","2020-09-23"]
["化工院","0902192S","倒置荧光显微镜","维护",346500,"谭亮","Eclipse Ti-S","*","日本尼康公司","2009-04-01"]
["化工院","0701611S","全自动比表面积与孔隙分析仪","维护",344450,"徐满才","Tristar 3000","*","美国麦克仪器公司","2006-06-01"]
["化工院","0802109S","高效液相色谱仪","维护",338750,"毛丽秋","Agilent 1200","*","美国安捷伦公司","2007-04-09"]
["化工院","1604625S","高效液相色谱仪","维护",307890,"刘贤响","Agilent 1260","*","AGILENT美国","2016-09-07"]
["化工院","1502331S","纳米电位系统","维护",300100,"魏琳","ZS90","*","英国马尔文","2015-05-05"]
["教科院","202421923S","眼动仪","新增并维护",445000,"范伟","Tobii/tobii pro spectrum 1200","1200Hz","瑞典tobii有限公司","2023-03-20"]
["教科院","1701830S","脑电仪系统","维护",765198,"周路平","AsaLab-176","*","德国Eemagine","2016-12-01"]
["教科院","2101779S","64导事件相关电位系统","维护",645900,"范伟","BP actiCHamp plus","*","德国BrainProducts公司","2020-12-21"]
["历文院","202344381S","复合式三维扫描仪","维护",312000,"朱棒","KSCAN-Magic","KSCAN-Magic","思看科技（杭州）股份有限公司","2022-12-13"]
["生科院","20021957","基因分析系统　","新增并维护",892500,"赵如榕","CEQ8000","*","美国贝克曼公司","2002-10-01"]
["生科院","1800240S","发酵罐系统","新增并维护",562000,"莫湘涛","BIOSTATCPLUS","*","Sartorius","2018-03-08"]
["生科院","0301131S","骨骼密度计","新增并维护",527000,"陈湘定","HOLOGIC","*","美中互利工业公司　","2003-03-01"]
["生科院","202406354S","体视荧光显微镜","新增并维护",498500,"谢华平","徕卡/M205FCA","1:20:1变倍体。2：Z轴电动扫描。 3：红绿蓝三色荧光激发。 4：落射透射2用光源。","莱卡微系统（瑞士）有限公司","2023-05-17"]
["生科院","202343373S","分析型高效液相色谱","新增并维护",364000,"余子全","科诺美（北京）科技有限公司","范围：0.001ml/min~10ml/min，递增率≤0.001ml/min；精度：≤0.06%R","科诺美（北京）科技有限公司","2022-12-26"]
["生科院","202341836S","流式细胞分选仪","维护",4194800,"丁小凤","MoFlo Astrios EQ","1.激光波长包括405nm、488nm、640nm，561nm≥200mV能激发能激发≥12色荧光。","美国/BECKMANCOULTER","2023-11-09"]
["生科院","1902578S","透射式电子显微镜","维护",4125700,"刘少军","HT7800","*","日本HITACHI","2019-05-20"]
["生科院","1405299S","小动物活体成像系统","维护",2590000,"夏立秋","IVIS SPECTRUM","*","Caliper-PE","2013-11-28"]
["生科院","1202068S","激光共聚焦显微镜","维护",2380000,"孙运军","LSM 710","*","德国卡尔蔡司公司","2012-04-17"]
["生科院","1504538S","质谱蛋白质分析系统","维护",2338000,"刘中华","5800","*","AB(美国)公司","2015-04-10"]
["生科院","1701194S","高分辨发射扫描式电镜","维护",2197000,"孙运军","SU8010","*","日本日立高新技术公司","2017-05-08"]
["生科院","1003169S","液相色谱线性离子肼质谱系统","维护",2162000,"余子全","LTQXL","*","美国赛默飞世尔","2009-09-16"]
["生科院","202201392S","数字PCR仪","维护",1696000,"刘少军","Naica","全自动一体化微滴制备及扩增系统，样品最大上样量≥16μl/反应","STILLA/法国","2022-04-19"]
["生科院","1306787S","激光共聚焦显微镜","维护",1597200,"赵如榕","FV1200","*","OLYMPUS公司","2013-09-23"]
["生科院","0402013S","激光共聚焦显微镜","维护",1495200,"胡翔","Rodiance 210 AGR-B","*","Bio-Rad Lab U.S.A","2004-06-01"]
["生科院","0802518S","活细胞工作站","维护",1335000,"赵如榕","Ti-E","*","日本尼康公司","2008-10-21"]
["生科院","2100750S","蛋白质测序仪","维护",1201900,"胡卫军","PPSQ-51A","*","日本岛津公司","2020-07-17"]
["生科院","202201458S","超薄切片系统","维护",1093800,"刘锦辉","徕卡/EM UC7","LED光源/切片速度0.05/100mm/s","徕卡显微系统（上海）贸易有限公司","2022-03-01"]
["生科院","0502728S","荧光定量PCR仪","维护",850000,"周建林","7900HT","*","美国ABI","2005-10-01"]
["生科院","2000526S","高速钙离子成像系统","维护",836000,"唐城","IX83","*","日本OLYMPUS","2020-05-20"]
["生科院","0402009S","扫描式电子显微镜","维护",826056,"陈松","JSM-6360LV","*","日本电子公司","2004-04-01"]
["生科院","202400059S","电动荧光显微镜","维护",762000,"黄旭","Leica徕卡/DM6B","5X(NA≥0.15)；10X(NA≥0.32)； 20X(NA≥0.55)； 40X(NA≥0.8","徕卡显微系统（上海）贸易有限公司","2023-05-16"]
["生科院","1701195S","蛋白纯化仪","维护",699600,"黄伟涛","AKTA avant 25","*","General Electric Conpany","2017-04-01"]
["生科院","1603498S","正置荧光显微镜","维护",675000,"袁婺洲","Axio ImagerM2","*","德国蔡司公司","2015-10-12"]
["生科院","0303056S","扫描探针显微镜","维护",629000,"莫湘涛","SPA-400AFM","*","日本精工","2002-10-01"]
["生科院","1607092S","氨基酸分析仪","维护",619000,"李建中","L-8900","*","日立公司","2016-09-18"]
["生科院","202106896S","流式细胞仪","维护",609800,"何善平","Invitrogen Attune NxT","荧光检测灵敏度：FITC＜80MEDF,APC＜70MESF,PE＜30MESF","Life technologies(美国生命技术公司）","2021-09-01"]
["生科院","202271048S","便携式X荧光光谱仪","维护",605000,"戴小军","E-MAX 500/美国S-PEC","X光最大功率50W","S-PEC","2022-07-11"]
["生科院","202103482S","荧光相关光谱仪","维护",596200,"唐城","CorTector CX100","物镜60X水镜，激光器：488nm和561nm连续输出","中科奥辉","2021-09-27"]
["生科院","202307370S","全自动蛋白纯化系统","维护",588000,"周熙","ÄKTApure25","进样体积：0.1～50μL（标配），增量：0.1μL","美国Cytiva","2023-06-21"]
["生科院","202102253S","分子相互作用分析仪","维护",569000,"夏立秋","Open SPR","分子量检测极限≥90","Nicoya Lifesciences","2021-07-06"]
["生科院","1607095S","机架服务器","维护",546800,"任力","TS10000","配置2颗IntelE5-2420VZ处理器","浪潮集团","2021/11/05"]
["生科院","202262592S","3D生物打印系统","维护",544800,"陈海燕","LB315","重复定位精度≤±0.01mm，运动控制精度≤0.001mm","迈普/中国","2022-10-24"]
["生科院","0606492S","流式细胞仪","维护",522900,"胡翔","FACSCalibur","*","BD公司","2006-08-01"]
["生科院","1700759S","流式细胞分析仪","维护",509700,"赵如榕","cyFlowploidyAnalyser","*","Germany Sysmex-Partec GmbH","2017-02-22"]
["生科院","0702387S","全电动智能显微镜","维护",506300,"赵如榕","DM6000B","*","德国LEICA公司","2006-04-07"]
["生科院","1301352S","高效液相色谱仪","维护",500680,"余子全","1290","*","安捷伦科技有限公司","2012-11-06"]
["生科院","0900816S","全自动氨基酸分析仪","维护",499996,"赵如榕","L-8900","*","日立公司","2009-01-10"]
["生科院","1700724S","双色红外激光成像系统","维护",496800,"田连福","HE-120","*","美国Li-cor","2017-03-22"]
["生科院","2002356S","实时荧光定量PCR分析仪","维护",493800,"赵如榕","Quantstudio 5","*","Life Technologies","2020-10-25"]
["生科院","1307184S","高效液相色谱仪","维护",470000,"夏立秋","G1361A","*","美国Agilent","2013-09-25"]
["生科院","202307369S","高效液相色谱仪","维护",468200,"周熙","ARCHPLC","流速范围不低于0.001～25ml/min","美国Waters","2023-06-21"]
["生科院","1900468S","四元梯度高效液相色谱仪","维护",455000,"陈作红","e2695","*","美国 Waters公司","2019-03-01"]
["生科院","0501654S","荧光定量PCR仪","维护",450500,"赵如榕","7500","*","APPLIED  BIOSYSTEM","2005-04-01"]
["生科院","0403927S","全自动超薄切片机","维护",444487,"刘锦辉","UL TRACUT UCT","*","奥地利莱卡公司","2004-10-01"]
["生科院","1203070S","生物膜片钳系统","维护",436000,"刘中华","EPC-10USB","*","德国HEKA公司","2012-09-03"]
["生科院","1607093S","荧光定量PCR仪","维护",435000,"田连福","Quant Studio 5","*","ABZ","2016-09-21"]
["生科院","1900855S","研究级正置显微镜","维护",417900,"翟宗昭","Axio Imager M2","*","德国蔡司","2018-11-05"]
["生科院","1604057S","荧光定量PCR仪","维护",415000,"李建中","Quanstudio 5","*","Thermo Fisher （新加坡）","2016-03-09"]
["生科院","1802732S","荧光体视显微镜","维护",403000,"邓云","M205FA","*","德国Leica","2018-07-10"]
["生科院","2000527S","高效相色谱系统","维护",395800,"刘中华","Acquity Arc","*","美国waters","2020-05-22"]
["生科院","0402011S","蛋白质提纯系统","维护",393120,"胡翔","AKTA purifier 100","*","Amersham Biosciences","2004-04-01"]
["生科院","1202405S","倒置荧光显微镜","维护",392000,"赵如榕","DMI3000B","*","德国徕卡公司","2012-06-28"]
["生科院","0603696S","发酵罐系统","维护",391000,"夏立秋","BioFCo4500","*","New Byunswick Scientigic","2006-03-01"]
["生科院","0701495S","生物分子快速纯化系统","维护",390132,"夏立秋","AKTApurifier 100","*","Genera Electric Internato","2006-06-01"]
["生科院","1507071S","倒置荧光显微镜","维护",390000,"夏立秋","AXIO OBSERVER A1","*","卡尔-蔡司","2015-12-11"]
["生科院","202308423S","化学发光成像仪","维护",372000,"何善平","Bio-rad ChemiDoc","600万超冷CCD，自动对焦、自动托盘识别、Stan-Free免染成像技术","伯乐生命医学产品（上海）有限公司","2023-07-06"]
["生科院","1604959S","荧光倒置显微镜带成像系统","维护",367900,"李建中","DMI8","*","徕卡显微镜系统（上海）贸易有限公司","2016-06-23"]
["生科院","0704302S","流式细胞仪","维护",367500,"赵如榕","PA","*","德国PARTEC公司","2007-07-01"]
["生科院","1003170S","双色红外激光成像系统","维护",362000,"余子全","9120","*","美国 LI-COR公司","2010-08-01"]
["生科院","20003705","荧光磷光生物发光光度计","维护",361089.04,"邓乐","LS-50B","*","Perkin-Elmer公司","2000-07-01"]
["生科院","1000539S","蛋白质双向电泳系统","维护",357500,"赵如榕","Etta 2D","*","美国通用公司","2010-03-01"]
["生科院","0702388S","荧光体式显微镜","维护",348600,"赵如榕","MZ16FA","*","德国LEICA公司","2006-04-07"]
["生科院","1701309S","活体细胞组织形态分析系统","维护",348000,"刘少军","BX63","*","奥林巴斯(日本)","2016-10-10"]
["生科院","1200798S","超速离心机","维护",348000,"方芳","Optima L-90K","*","美国贝克曼公司","2012-05-03"]
["生科院","1403658S","半制备液相色谱仪","维护",342000,"段志贵","WATERS 1525EF","*","美国沃特世","2013-12-26"]
["生科院","0800513S","荧光定量PCR仪","维护",333942,"孙运军","7500","*","美国ABI公司","2008-01-23"]
["生科院","0606946S","超速冷冻离心机","维护",329600,"刘中华","optimaL-90K","*","美国贝克曼公司","2006-09-01"]
["生科院","1604623S","高效液相色谱仪","维护",328620,"李建中","Agilent 1260","*","AGILENT美国","2016-09-07"]
["生科院","1701715S","昆虫触角电位测量系统","维护",324600,"周琼","EAD","*","Syntech","2016-12-13"]
["生科院","1604063S","近红外光谱分析仪","维护",320000,"李建中","DA7200","*","PERTEN（瑞士）","2016-03-09"]
["生科院","1604624S","高效液相色谱仪","维护",307890,"李建中","Agilent 1260","*","AGILENT美国","2016-09-07"]
["生科院","1004413S","体视荧光显微镜","维护",302522,"赵如榕","SZX12","*","日本Olympus公司","2006-05-31"]
["数统院","1803514S-16S/1803518S/1803537S/2005862S-65S","基于容器技术的人工智能、HPC和Hadoop集群平台","维护",1960200,"张墨力","Dell R740*3+Inspur NF5280M5*3 ","*","中国戴尔、浪潮","2018-11-14"]
["体育学院","202331783S","超高频高分辨率小动物超声成像系统","维护",2988000,"彭夕洋","vevoF2LT","vevoF2LT","fujifilm visualsonics,inc","2023-11-27"]
["体育学院","1901244S","SSI单通道呼吸代谢测量系统","维护",854500,"郑澜","SSI","*","Sable Systems Znternational","2018-11-12"]
["体育学院","1709182S","人体成份分析仪","维护",748000,"谭军","BOD POD","*","意大利科时迈","2017-06-10"]
["体育学院","202340657S","线粒体呼吸检测仪","维护",593600,"周作琼","Startup O2k-Respirometer","Startup O2k-Respirometer","奥地利Oroboros","2023-12-01"]
["体育学院","2002975S","荧光显微镜","维护",365000,"汤长发","德国Leica TL5000","*","德国徕卡","2020-11-24"]
["体育学院","1800033S","血压脉搏检测仪","维护",310000,"李烨","BP-203RPE 三","*","OMRON","2017-05-16"]
["外国语学院","202309951S","脑电系统","维护",836600,"杨雨箫","Magstim Inc GES400","脑电放大器1.1单个80通道放大器，晗64通道EEG（脑电）信号记录接口和16通道胜利信号记录扩展光","Magstim Inc","2023-09-01"]
["外国语学院","202306438S","眼动仪","维护",459988,"贾艳芳","Tobii Pro Spectrum","*","拓比电子技术有限公司","2023/04/11"]
["物电院","202406912S","环境扫描电子显微镜","新增并维护",2995000,"周海青","Thermo Fisher  Apreo 2 S Hivac","二次电子（SE）像，高真空模式15KV时0.5nm;1KV时优于0.8nm/500V时优于1.0nm","赛默飞世尔科技有限公司","2024-05-21"]
["物电院","202406911S","高性能计算机集群","新增并维护",1545000,"周海青","HPS-CGP64C256G4R","17个并行计算节点，64核心，2块英伟达A100，48TB存储","西安海普森信息科技有限公司","2024-05-30"]
["物电院","2000933S","四端口矢量网络分析仪","新增并维护",559000,"彭智慧","N5232B","*","Keysight technology","2019-02-26"]
["物电院","2000935S","微波信号源","新增并维护",400000,"彭智慧","E8257D","*","Keysight technology","2019-02-26"]
["物电院","2000934S","两端口矢量网络分析仪","新增并维护",340000,"彭智慧","N5231B","*","Keysight technology","2019-02-26"]
["物电院","1605072S","透射电子显微镜","维护",5851203.3,"曾松军","TecnaiG2F20","*","FEI Hongkong Company Limited","2015-01-07"]
["物电院","1901692S","超导量子器件极低温综合物性测量系统","维护",4976100,"彭智慧","BF-LD40","*","芬兰BlueFors","2018-01-30"]
["物电院","1800884S","X射线光电子能谱仪","维护",4298800,"唐东升","ESCALAB250Xi","*","赛默飞世尔科技（中国）公司","2016-07-29"]
["物电院","1301304S","超高分辨场发射扫描电子显微镜","维护",3062600,"唐东升","SEM450","*","FEI","2013-05-10"]
["物电院","1700128S","X射线衍射仪","维护",2398800,"唐东升","d8 discover","*","德国布鲁克AXS","2016-01-13"]
["物电院","202309315S","钛宝石飞秒激光放大器","维护",2278500,"翟亚新","Astrella","输出功率7.5W，重复频率1k，前脉冲对比度1824:1；后脉冲对比188:1 脉宽33fs","美国/Coherent Inc","2022-12-01"]
["物电院","1604522S","拉曼光谱仪系统","维护",1879000,"周伟昌","LABHRev-UV-Open","*","HORIBA  Scientific","2015-10-20"]
["物电院","1801805S","载流子动力学测试系统","维护",1595000,"周伟昌","MicroTime-100","*","Princeton Instrument，USA","2018-07-01"]
["物电院","1701669S","多功能小动物活体成像仪","维护",1480000,"曾松军","Bruker/In Vivo Fx Pro","*","Bruker","2015-06-16"]
["物电院","1505746S","GPU计算加速平台","维护",1351099,"桂龙成","浪潮NF5270M4NF、5568M4","*","浪潮","2015-12-02"]
["物电院","202111025S","纳米荧光成像显微镜系统","维护",1348000,"曾松军","Cytoviva HSI","超高分辨率照明系统、双模式荧光系统","BIOTIMES TECHNOLOGY LIMITED（百泰科技）","2016-06-07"]
["物电院","0602626S","光刻机","维护",1317000,"唐东升","*","*","美国","2005-12-01"]
["物电院","2001789S","电子束蒸发镀膜仪","维护",1308800,"唐东升","LAB Line","*","KurtJ.Lesker","2016-09-15"]
["物电院","1900146S","近红外成像系统","维护",1248000,"曾松军","InGaAs","*","美国Princetion Instruments","2015-11-12"]
["物电院","2001788S","半导体分析测试系统","维护",1179800,"唐东升","SCS4200","*","KEITHLEY","2016-06-08"]
["物电院","1604679S","磁共振成像系统","维护",1049000,"曾松军","NM-GI","*","苏州纽迈分析仪器股份有限公司","2016-04-03"]
["物电院","202314828S","超快瞬态吸收光谱系统","维护",890000,"翟亚新","TA100-800nm","1.白光光谱范围： 350nm - 1500 nm 2.探测器最大采集速度：8 kHz","大连创锐光谱科技有限公司","2022-12-23"]
["物电院","202342779S","样品快速冷冻仪","维护",795000,"刘红荣","vitrobot mark iv","*","湖南省机械设备进出口有限公司","2023/05/04"]
["物电院","202342780S","超速离心机","维护",725000,"陈文沅","CP80NX","加减速模式：10级加速，11级减速（包括自由滑行）","Eppendorf himac technologies co.,LTD/日本","2023-12-07"]
["物电院","1906155S","天文望远镜","维护",683880,"章利","KPW400ZF","*","中科院南京耐尔思光电仪器有限公司","2019-12-17"]
["物电院","1602146S","高速信号采样系统","维护",462000,"彭智慧","86100D","*","是德科技（中国）有限公司","2015-11-16"]
["物电院","1701439S","任意信号发生器","维护",454580,"陈明","awg7122c","*","科泰测试技术香港有限公司","2016-05-20"]
["物电院","1800079S","台阶仪","维护",440000,"唐雄贵","p7","*","MicroNano","2015-12-01"]
["物电院","1700189S","声音信号检测系统","维护",399000,"钱盛友","FOPH2000","*","德国RP Acoustics","2016-06-14"]
["物电院","1701438S","高速实时示波器","维护",385000,"陈明","wavemasterzi-a","*","美国力科","2017-02-17"]
["物电院","0802950S","紫外  可见  近红外分光光度计","维护",360850,"唐东升","Lambda 750","*","美国PE公司","2008-10-01"]
["物电院","1800803S","曙光服务器","维护",339700,"陈明星","I840-G25","E78890*4/16*16g/248G*2ssd+1.8tbsas/dvd","中科曙光","2021/05/11"]
["物电院","202343386S","偏振红外光电响应测试系统","维护",329800,"王伟科","TMIR-ns2743","波长范围：1415~1755 nm ＆2700~4300 nm；具备功率调节 功能","南京南智芯光科技有限公司","2023-12-08"]
["医学部","202400262S","AB3130XL遗传分析仪","新增并维护",628000,"代洪","AB3130XL 二手","16道 六色荧光","AB(美国)公司","2019-01-01"]
["医学部","202307237S","活细胞工作站","维护",3766800,"全梅芳","Operetta CLS ＆ plate::handler flex","光源类型：单波长LED 光源； 波段：≥700nm","美国 /perkinelmer","2023-06-21"]
["医学部","2006336S","超高分辨共聚显微镜","维护",2090000,"余星","Leica TCS SP8 SR","*","德国Leica","2020-07-03"]
["医学部","1702588S","智能切片定量分析系统","维护",1641000,"刘如石","Vectra","*","PerkinElmer","2017-11-08"]
["医学部","1700753S","生物分子相互作用系统","维护",1291000,"刘如石","Biacore X100","*","美国GE","2017-03-24"]
["医学部","1702587S","小动物成像系统","维护",1031000,"刘如石","IVIS Lumina LT","*","PerkinElmer","2017-11-08"]
["医学部","1505902S","流式细胞仪系统","维护",900000,"任凯群","FACSCantoII","*","BD公司","2015-11-30"]
["医学部","202345136S","气相色谱质谱联用系统","维护",579500,"邹辉","EXPEC 5231S","15-28℃，20-80%RH","杭州谱育科技发展有限公司","2023-12-15"]
["医学部","1903389S","超速离心机","维护",558200,"全梅芳","Optima XE-100","*","贝克曼库尔特","2019-05-16"]
["医学部","1903390S","胶体金试条研发三维喷点技术平台系统","维护",498600,"全梅芳","XYZ3060","*","BIODOT","2019-07-10"]
["医学部","202101288S","蛋白质层析系统","维护",477800,"余星","AKTApure","0.001-25ml;0-20Mpa","cytiva公司","2021-04-12"]
["医学部","2100325S","动态光散射仪","维护",345000,"任凯群","Zetasizer Nano ZS90","*","苏州冯氏实验动物设备有限公司","2020-11-24"]
["医学部","1900478S","高效液相色谱仪","维护",343000,"王志仁","1525","*","沃特斯","2019-02-26"]
["医学部","2001974S","高效液相色谱仪","维护",331000,"邹辉","1260II","*","美国安捷伦","2019-01-17"]
["医学部","1906107S","高效液相色谱仪","维护",328000,"周学军","126infinity","*","安捷伦科技9中共0有限公司","2019-12-17"]